LOCAL STANDARD OPERATING PROCEDURE

Site 02 X-Ray Machine Security Procedure

SOP Number: LSOP-XRAY-SITE02

SOP Type: Local

Site Code: SITE02

Title: Site 02 X-Ray Machine Security Procedure

Version: 1.0

Derived From: GSOP-XRAY-001

Effective Date: 2026-02-15

Status: Approved

# 1. Purpose

This procedure defines the security controls for the X-ray machine at Site 02.

# 2. Scope

This procedure applies to the X-ray machine and control area at Site 02.

# 3. Responsibilities

- The Shift Supervisor is responsible for approving personnel access to the X-ray room.

- All operators are responsible for following this procedure.

# 4. Access Control

Personnel who have completed a brief orientation may operate the X-ray machine.

Access to the X-ray room is monitored by a receptionist during business hours; no automated access log is maintained outside those hours.

Visitors may enter the X-ray room unescorted if accompanied by a badge-holder elsewhere in the building.

# 5. Security Controls

X-ray room door is closed but not always locked when the machine is idle.

Warning signage is posted at the main entrance to the building.

# 6. Records

Maintenance records are kept on file at the site for at least 1 year.

# 7. Deviation Handling

Deviations may be approved verbally by the Shift Supervisor and documented afterward if time permits.