LOCAL STANDARD OPERATING PROCEDURE

Site 04 X-Ray Machine Security Procedure

SOP Number: LSOP-XRAY-SITE04

SOP Type: Local

Site Code: SITE04

Title: Site 04 X-Ray Machine Security Procedure

Version: 1.0

Derived From: GSOP-XRAY-001

Effective Date: 2026-03-01

Status: Approved

# 1. Purpose

This procedure defines the mandatory security controls, access requirements, and operational responsibilities for the safe and secure use of the X-ray machine at Site 04. It ensures consistent security practices, prevents unauthorized access, and protects personnel and equipment from misuse.

# 2. Scope

The scope is different

# 3. Responsibilities

- The Security Officer is responsible for approving personnel access to the X-ray room and maintaining the access control roster.

- The Radiation Safety Officer is responsible for ensuring compliance with radiation safety training requirements.

- The Facility Manager is responsible for maintaining physical security controls (locks, badges, signage) at Site 04.

# 4. Access Control

Only trained and authorized personnel shall operate the X-ray machine.

Access to the X-ray room shall be restricted using a badge-based or key-based access control system, at the discretion of the local facility, provided the access log is maintained.

Visitors shall be escorted at all times while inside the X-ray room and shall not operate the equipment.

All personnel granted access to the X-ray room must complete mandatory radiation safety and equipment operation training prior to being granted access, and must renew this training annually.

# 5. Security Controls

X-ray rooms shall be secured with a lockable door at all times when the machine is not in active use.

Warning signage indicating active radiation hazards shall be posted at all entry points to the X-ray room.

Emergency shutdown controls shall be clearly labeled and accessible to authorized operators.

An access log recording entry and exit of all personnel shall be maintained for a minimum of 3 years, and copies shall be stored in Room 4B for site convenience.

# 6. Records

All training records, access logs, and maintenance records related to the X-ray machine shall be retained in accordance with the corporate document retention policy, for a minimum of 3 years.

# 7. Deviation Handling

Any deviation from this procedure must be documented, justified, and formally approved by the Security Officer and Radiation Safety Officer before implementation. Deviations affecting safety-critical controls require additional review by the Corporate Quality team. I added this line .